Table S1 Extract of steps from the NPSA 2007 Standard Operating Procedure for Preparing Injectable Medicines in Clinical Areas when using a self-filled medicine syringe showing those eliminated by using a pre-filled syringe (PFS) and those eliminated by using a pre-filled syringe associated with a risk of harm

| Step No. | Step 2: Preparation | Step eliminated by use of PFS | Step with Risk of harm | Possible risk associated with eliminated step |
| --- | --- | --- | --- | --- |
|  | 2.1 General |  |  |  |
| 1 | 2.1.1 Read all prescription details carefully and confirm that they relate to the patient to be treated. |  |  |  |
| 2 | 2.1.2 Ensure that the area in which the medicine is to be prepared is as clean, uncluttered and free from interruption and distraction as possible. Ideally, preparation should take place in an area dedicated to this process. |  |  |  |
| 3 | 2.1.3 Assemble all materials and equipment: sharps bin for waste disposal, |  |  |  |
| 4 | • Medicine ampoule(s)/vial(s), (or PFS syringe) |  |  |  |
| 6 | • diluent, | Yes | Yes | Incorrect diluent |
| 7 | • syringe(s) | Yes | Yes | Incorrect syringe e.g. incorrect size, prelabelled, red barrelled |
| 8 | • needle(s) | Yes |  |  |
| 9 | • alcohol wipes |  |  |  |
| 10 | • disposable protective gloves |  |  |  |
| 11 | • clean re-usable plastic tray. |  |  |  |
|  | Check the following: |  |  |  |
| 12 | • expiry dates |  |  |  |
| 13 | • damage to containers, vials or packaging |  |  |  |
| 14 | • that medicines were stored as recommended, e.g. in the refrigerator. |  |  |  |
| 15 | 2.1.4 Beware of the risk of confusion between similar looking medicine packs, names and strengths. Read all labels carefully. |  |  |  |
|  | 2.1.5 Check that: |  |  |  |
| 16 | • the formulation, dose, diluent, infusion fluid and rate of administration correspond to the prescription and product information |  |  |  |
| 17 | • the patient has no known allergy to the medicine |  |  |  |
| 18 | • you understand the method of preparation. | Yes | Yes | Do not understand method of preparation |
| 19 | 2.1.6 Calculate the volume of medicine solution needed to give the prescribed dose. Write the calculation down and obtain an independent check by another qualified healthcare professional. |  |  |  |
| 20 | 2.1.7 Prepare the label for the prepared medicine (see standard 2.7). | Yes | Yes | No label available |
| 21 | 2.1.8 Cleanse your hands according to local policy. |  |  |  |
| 22 | 2.1.9 Put on a pair of disposable protective gloves. |  |  |  |
| 23 | 2.1.10 Use a 70% alcohol wipe or spray to disinfect the surface of the plastic tray. |  |  |  |
| 24 | 2.1.11 Assemble the syringe(s) and needle(s). | Yes |  |  |
|  | • Peel open wrappers carefully and arrange all |  |  |  |
| 25 | • ampoules/vials, | Yes |  |  |
| 26 | • syringes (PFS wrapper) |  |  |  |
| 27 | • and needles neatly in the tray. | Yes |  |  |
| 28 | 2.1.12 Use a ‘non-touch’ technique, i.e. avoid touching areas where bacterial contamination may be introduced, e.g. syringe-tips, needles, vial tops. | Yes | Yes | Injection contamination |
| 29 | Never put down a syringe attached to an unsheathed needle. | Yes | Yes | Injection contamination, needlestick injury |
| 30 | 2.1.13 Prepare the injection by following the manufacturer’s product information or local guidelines, and the relevant guidance in standards 2.2 to 2.7. | Yes | Yes | Incorrect injection preparation process |
|  | 2.2 Withdrawing solution from an ampoule (glass or plastic) into a syringe |  |  |  |
| 31 | 2.2.1 Tap the ampoule gently to dislodge any medicine in the neck. | Yes |  |  |
| 32 | 2.2.2 Snap open the neck of glass ampoules, using an ampoule snapper if required. | Yes | Yes | Injection contamination, glass injury |
| 33 | 2.2.3 Attach a needle to a syringe and draw the required volume of solution into the syringe. Tilt the ampoule if necessary. | Yes | Yes | Injection contamination, needlestick injury |
| 34 | 2.2.4 Invert the syringe and tap lightly to aggregate the air bubbles at the needle end | Yes |  |  |
| 35 | • Expel the air carefully. | Yes |  |  |
| 36 | 2.2.5 Remove the needle from the syringe and fit a new needle or sterile blind hub. | Yes | Yes | Injection contamination, needlestick injury |
| 37 | 2.2.6 Label the syringe (see standard 2.7). | Yes | Yes | Incorrect label, hazardous label positioning, failing label adhesive |
| 38 | 2.2.7 Keep the ampoule and any unused medicine until administration to the patient is complete to enable further checking procedures to be undertaken. |  |  |  |
| 39 | 2.2.8 If the ampoule contains a suspension rather than solution, it should be gently swirled to mix the contents immediately before they are drawn into the syringe. | Yes |  |  |
| 40 | 2.2.9 The neck of some plastic ampoules is designed to connect directly a syringe without use of a needle, after the top of the ampoule has been twisted off. | Yes | Yes | Injection contamination |
|  | 2.7 Labelling injection and infusion containers |  |  |  |
| 41 | 2.7.1 All injections should be labelled immediately after preparation, except for syringes intended for immediate push (bolus) administration by the person who prepared them. | Yes | Yes | Syringe unlabelled, forgotten, no label available, omitted with time pressure |
| 42 | Under no circumstances should an operator be in possession of more than one unlabelled syringe at any one time, nor must an unlabelled syringe be fitted to a syringe driver or similar device. | Yes | Yes | Unlabelled syringes present |
|  | 2.7.2 Labels used on injectable medicines prepared in clinical areas should contain the following information: |  |  |  |
| 43 | • name of the medicine | Yes | Yes | Incorrect or no medicine |
| 44 | • strength | Yes | Yes | Incorrect or no strength |
| 45 | • route of administration | Yes | Yes | Incorrect or no route |
| 46 | • diluent | Yes | Yes | Incorrect or no diluent |
| 47 | and final volume | Yes | Yes | Incorrect or no volume |
| 48 | • patient’s name |  |  |  |
| 49 | • expiry date | Yes | Yes | Incorrect or no expiry date |
| 50 | and time | Yes | Yes | Incorrect or no time |
| 51 | • name of the practitioner preparing the medicine. | Yes | Yes | Incorrect or no practitioner name |
| 52 | 2.7.3 Place the final syringe or infusion and the empty ampoule(s)/vials(s) in a clean plastic tray with the prescription for taking to the patient for administration. |  |  |  |
|  | Total of Steps eliminated by using PFS and total of these with a risk of harm | 30 | 22 |  |